## H2O Template
Radon in Water Spreadsheet
V4.4 | 10 Jun 2019
(data entry only in blue background fields) |  |  |  | US/SI Units |  | US | [5 empty] | Use 115% CF? |  | Yes
Electret | Sample Collection | Start | End | Total Days |  | Initial | Final | EIC Configuration Constants |  |  |  | EIC | EIC | Elevation |  | γ | Volume (L) |  | Corrected | Temperature |  | Ostwald | Radon in Air |  |  | k1 | k2 | k3 | k4 | k5 | k6 | k7 | CF | Radon in Water | ± | % | Error 1 | Error 2 | Error 3 | Total Error
Serial | Date/Time | Date/Time | Date/Time | Delay | Exposure | Voltage | Voltage | A | B | G | Volume (L) | CF | Config | Feet | CF | µR/h | Air | Water | Air Volume | °F | °C | Coefficient | pCi/L | k | kT | AvC(Rn)A*kT | VA/VW+L | k1*k2 | exp(-kD) | 1-exp(-kT) | k4*k5 | k3/k6 | k7*1.15 | pCi/L | pCi/L | Error | (System) | (Reading) | (Gamma) | Confirmation
SAA001 | 2017-01-25 10:00 | 2017-01-25 14:00 | 2017-01-27 14:00 | 0.16667 | 2 | 700 | 680 | 0.31447 | 0.26062 | 0.087 | 0.21 | 2.0181 | SST | 300 | 1 | 10 | 4.044 | 0.068 | 3.766 | 65 | 18.3333 | 0.2728 | 4.0522 | 0.1814 | 0.3628 | 1.4701 | 55.6552 | 81.8212 | 0.97022 | 0.30427 | 0.29521 | 277.16 | 318.734 | 318.734 | 27.6032 | 8.66% | 5% | 7% | 1% | 8.66%
SAA002 | 2017-01-25 10:00 | 2017-01-25 14:00 | 2017-01-27 14:00 | 0.16667 | 2 | 705 | 684 | 0.31447 | 0.26062 | 0.087 | 0.21 | 2.0198 | SST | 300 | 1 | 10 | 4.044 | 0.068 | 3.766 | 65 | 18.3333 | 0.2728 | 4.2956 | 0.1814 | 0.3628 | 1.5585 | 55.6552 | 86.7364 | 0.97022 | 0.30427 | 0.29521 | 293.8096 | 337.881 | 337.881 | 28.3588 | 8.393% | 5% | 6.667% | 1% | 8.393%
Standardized Rad Elec Analysis Jar is 4.044 L.
Standardized Rad Elec Water Sample Jars are either 68 mL (0.068 L) or 136 mL (0.136 L).