Please remember to double-check your values (Elevation, Gamma, Volumes, and Sample Temperatures) when converting between US and SI units.
You must select either US or SI as your measurement units.
You must enter a valid electret ion chamber configuration from the list.
You must enter a valid electret ion chamber configuration from the list.
This is the Greek letter, gamma. Enter your background in the blue background cells below.
## Radon Template
	Background Gamma Calculation Template
	V0.2 (15 July 2020)
			US/SI Units	US
Electret	Start	End	Total Days	Initial	Final	EIC Configuration Constants			EIC	EIC	Elevation		γ	Radon in Air	±	Error %	γ
Serial Number	Date/Time	Date/Time	Exposure	Voltage	Voltage	A	B	G	CF	Config	Feet	CF	µR/h	pCi/L	pCi/L		µR/h					Valid Data?			IVD
SAA001	2020-07-01 10:50	2020-07-31 12:31	30.07	503	420	0.314473	0.260619	0.087	1.9132	SST	300	1.00	0.0	1.408	±0.1	9%	16.2					TRUE	+RnC?	1.4	0.066667
SAA002	2020-07-01 10:50	2020-07-31 12:31	30.07	703	695	0.013497	0.012499	0.120	0.0954	LMT-OO	300	1.02	0.0	2.130	±0.4	19%	17.4					TRUE	+RnC?	2.1	0.066667
SAA003	2020-07-01 10:50	2020-07-31 12:31	30.07	710	685	0.124228	0.040676	0.120	0.3906	LST	300	1.02	0.0	1.995	±0.2	9%	16.3					TRUE	+RnC?	2.0	0.066667
						Average Gamma:					16.6					TRUE
Instructions:
1) Read initial voltages and place open E-PERMs into an aluminized Mylar bag. Purge with aged nitrogen before sealing the bag to ensure a radon-free environment.
2) Exposure time depends on estimated background dose rate, but average exposures range between one week to one year.
3) If necessary, select either US or SI measurement units from the dropdown box by clicking on the blue cell to the right of “US/SI Units”.
4) Enter in the required data indicated by the blue cells (such as dates, times, voltages, etc.)
5) Select the E-PERM configuration from the dropdown box.
6) Double-check your elevation, especially if switching measurement units between US and SI.