Please remember to double-check your values (Elevation, Gamma, Volumes, and Sample Temperatures) when converting between US and SI units.
You must select either US or SI as your measurement units.
You must enter a valid electret ion chamber configuration from the list.
You must enter a valid electret ion chamber configuration from the list.
This selection will apply to all detectors in this spreadsheet.
You must select a gas from the list.
This is the Greek letter, gamma. Enter your background in the blue background cells below.
This selection will apply to all detectors in this spreadsheet.
You must select a gas from the list.
## Gas Template
	Radon in Gas Calculation Template
	V1.3 (26-Jul-2024)
						Units	US					Gas	Natural Gas
Electret	Sample Collection		Start		End		Total Days	Initial	Final	EIC Configuration Constants			EIC	EIC	Elevation		γ	Initial	Average	±	Error %					CF
Serial Number	Date	Time	Date	Time	Date	Time	Exposure	Voltage	Voltage	A	B	G	CF	Config	Feet	CF	µR/h	pCi/L	pCi/L	pCi/L					Valid Data?			IVD	f	Initial RnC
SAA001	01-Jan-2024	12:00	01-Jan-2024	18:30	02-Jan-2024	20:00	1.06	746	676	0.314473	0.260619	0.087	2.0259	SST	1000	1.00	10.0	32.4	28.8	±1.6	5%					TRUE	+AvRnC?	28.8	0.066667	1.099	32.4
SAA002	01-Jan-2024	12:00	01-Jan-2024	18:30	02-Jan-2024	20:00	1.06	665	599	0.314473	0.260619	0.087	1.9952	SST	1000	1.00	10.0	31.0	27.5	±1.5	5%					TRUE	+AvRnC?	27.5	0.066667	1.099	31.0
						Initial Radon Average:		31.7					TRUE
Instructions:						RPD:	4.6%
1) If necessary, select either US or SI measurement units from the dropdown box by clicking on the blue cell to the right of “US/SI Units”.
2) Select the appropriate gas from the dropdown: Air, Butane, Ethane, Natural Gas, or Propane.
3) Enter in the required data indicated by the blue cells (such as dates, times, voltages, etc.)
4) Select the E-PERM configuration from the dropdown box.
5) Double-check your elevation and background gamma, especially if switching measurement units between US and SI.
6) The Sample Collection Date/Time is usually identical to the Start Date/Time, unless the natural gas was collected previously before being streamed into the sampling jar.
7) If Sample Collection Date/Time is left blank, the Start Date/Time will be used for determining the decay constant period.

## Mass Template
	Propane Mass Template
	V1.3 (26-Jul-2024)
						Units	US					Gas	Propane
Electret	Sample	Sample Collection		Start		End		Total Days	Initial	Final	EIC Configuration Constants			EIC	EIC	Elevation		γ	Initial	Average	±	Error %	Notes					CF
Serial Number	Description	Date	Time	Date	Time	Date	Time	Exposure	Voltage	Voltage	A	B	G	CF	Config	Feet	CF	µR/h	pCi/L	pCi/L	pCi/L					Valid Data?			IVD	f	Initial RnC
SAA001	Air Sample #123	01-Jan-2024	12:00	01-Jan-2024	18:30	02-Jan-2024	20:00	1.06	746	676	0.314473	0.260619	0.087	2.0259	SST	1000	1.00	0.0	26.9	23.9	±1.3	5%					TRUE	+AvRnC?	23.9	0.066667	1.359	26.9
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review
						0.000000	0.000000	0.000					FALSE	+AvRnC?	Review	0.022223	1.359	Review